## Slide 1
90. The transfer function relating a step input to the output of a control system is:
The natural frequency ωn of the system and the damping ratio ς are most nearly:
o A. ωn = 2 rad/s; ς = 0.1
o B. ωn = 2 rad/s; ς = 0.2
o C. ωn = 4 rad/s; ς = 0.1
o D. ωn = 4 rad/s; ς = 0.2

## Slide 2
Refer to the Second-Order Control System Models section in the Instrumentation, Measurement,
and Controls chapter of the FE Reference Handbook.
THE CORRECT ANSWER IS: C
The equation of the system can be written as
which is in the form

## Slide 8
20. Refer to page 220 of the Measurement section in the Instrumentation, Measurement, and Control chapter of
the FE Reference Handbook.
THE CORRECT ANSWER IS: C